## Mandatory Monitoring
EPA ENVIRONMENTAL MONITORING
SUMMARY OF MONITORING: | The sample results indicate the factory wastewater application is not having any significant effect on soil and water chemistry.
Variation occurs due to rainfall (dilution) and resultant groundwater level changes.
Wheat crop grown in 2016 saw some improvement in nitrogen and phosphorous levels. There is a wheat crop in again this year.
No pollution incidents or complaints for noise or odour were received in the past 12 months.
MANDATORY MONITORING AND MOST RECENT RESULTS (REFER TO SUMMARY FOR MORE DETAIL)
EPA Identification point number | Type of Monitoring Point | Type of Discharge Point | How Monitored | Location Description |  |  | Parameter
Point 1 | Wastewater quality monitoring | N/A | Quality measure | Refer to EPA Site Map |  |  | BOD | EC | N (ammonia) | N (total) | pH | P (total) | K(total) | TSS
[5 empty] | unit of measure |  | mg/L | μs/cm | mg/L | mg/L | pH | mg/L | mg/L | mg/L
[5 empty] | frequency |  | every 6 months
[5 empty] | sampling method |  | representative sample
[7 empty] | 68 | 2340 | <0.1 | 7.33 | 7.75 | 3.09 | 38.6 | 94
EPA Identification point number | Type of Monitoring Point | Type of Discharge Point | How Monitored | Location Description |  | Volume | Parameter
Point 2 | Wastewater volume Monitoring | Discharge to utilisation area. Volume monitoring. Effluent quality monitoring. | Volume: flowmeter. | Refer to EPA Site Map
[5 empty] | unit of measure | kilolitres
|  |  | Quality: effluent sample. |  | frequency | continous during discharge | Daily
[5 empty] | sampling method | flow meter | 119293
EPA Identification point number | Type of Monitoring Point | Type of Discharge Point | How Monitored | Location Description |  |  | Parameter
Point 3 | Groundwater quality monitoring. Standing water level monitoring EPA3 | N/A | Water sample | Refer to EPA Site Map |  |  | BOD | EC | N (ammonia) | N (total) | pH | P (total) | K(total) | Sodium
[5 empty] | unit of measure |  | mg/L | μs/cm | mg/L | mg/L | pH | mg/L | mg/L | mg/L
[5 empty] | frequency |  | Yearly
[7 empty] | 2 | 18800 | 0.3 | 1.1 | 7.14 | 0.14 | 9 | 3130
EPA Identification point number | Type of Monitoring Point | Type of Discharge Point | How Monitored | Location Description |  |  | Parameter
Point 4 | Groundwater quality monitoring. Standing water level monitoring EPA 4 | N/A | Water sample | Refer to EPA Site Map |  |  | BOD | EC | N (ammonia) | N (total) | pH | P (total) | K(total) | Sodium
[5 empty] | unit of measure |  | mg/L | μs/cm | mg/L | mg/L | pH | mg/L | mg/L | mg/L
[5 empty] | frequency |  | Yearly
[7 empty] | 2 | 4180 | 0.1 | 1.78 | 8 | 1 | 10.4 | 674
EPA Identification point number | Type of Monitoring Point | Type of Discharge Point | How Monitored | Location Description |  |  | Parameter
Point 5 | Groundwater quality monitoring. Standing water level monitoring EPA 5 | N/A | Water sample | Refer to EPA Site Map |  |  | BOD | EC | N (ammonia) | N (total) | pH | P (total) | K(total) | Sodium
[5 empty] | unit of measure |  | mg/L | μs/cm | mg/L | mg/L | pH | mg/L | mg/L | mg/L
[5 empty] | frequency |  | yearly
[7 empty] | <2 | 13400 | <0.1 | 0.92 | 7.96 | 0.13 | 12.2 | 2500
EPA Identification point number | Type of Monitoring Point | Type of Discharge Point | How Monitored | Location Description |  |  | Parameter
Point 6 | Groundwater quality monitoring. Standing water level monitoring EPA 6 | N/A | Water sample | Refer to EPA Site Map |  |  | BOD | EC | N (ammonia) | N (total) | pH | P (total) | K(total) | Sodium
[5 empty] | unit of measure |  | mg/L | μs/cm | mg/L | mg/L | pH | mg/L | mg/L | mg/L
[5 empty] | frequency |  | yearly
No sample due to low groundwater level
EPA Identification point number | Type of Monitoring Point | Type of Discharge Point | How Monitored | Location Description |  |  | Parameter
Point 7 | Soil quality monitoring EPA 7 | N/A | Soil sample. | Refer to EPA Site Map |  |  | EC | Exch. Ca | Exch. Mg | Exch. K | Exch. Na | Nitrate | N (total) | pH | P (Available) | T.Organic carbon | Cation Exch.Capacity
[5 empty] | unit of measure |  | μs/cm | meq/100g | meq/100g | meq/100g | meq/100g | mg/kg | mg/kg | pH | mg/kg | % | meq/100g
[5 empty] | frequency |  | yearly
sampling method
[7 empty] | 557.5 | 24 | 9.125 | 3.375 | 6.5 | 13.325 | 13.32 | 8.975 | 84.25 | 1.1825 | 43
EPA Identification point number | Type of Monitoring Point | Type of Discharge Point |  | Location Description |  |  | Parameter
Point 8 | Soil quality monitoring EPA 8 | N/A | Soil sample. | Refer to EPA Site Map |  |  | EC | Exch. Ca | Exch. Mg | Exch. K | Exch. Na | Nitrate | N (total) | pH | P (Available) | T.Organic carbon | Cation Exch.Capacity
[5 empty] | unit of measure |  | μs/cm | meq/100g | meq/100g | meq/100g | meq/100g | mg/kg | mg/kg | pH | mg/kg | % | meq/100g
[5 empty] | frequency |  | yearly
sampling method
[7 empty] | 270 | 16 | 10.5 | 5.4 | 2.425 | 32.2 | 32.2 | 8.65 | 19.75 | 0.6575 | 30.25
EPA Identification point number | Type of Monitoring Point | Type of Discharge Point |  | Location Description |  |  | Parameter
Point 9 | Centre pivot irrigator | N/A | Volume | Refer to EPA Site Map | NO DISCHARGE - NOT MEASURED
[6 empty] | kilolitres | NO DISCHARGE - NOT MEASURED
frequency
EPA Identification point number | Type of Monitoring Point | Type of Discharge Point |  | Location Description |  | Volume | Parameter
Point 10 | Woodlot irrigator | Discharge to utilisation area. Volume monitoring. Effluent quality monitoring. | Volume | Refer to EPA Site Map
[5 empty] | kilolitres |  | 64, 041 kL
[5 empty] | Frequency |  | Monthly

## Summary
[8 empty] | MONITORING RESULTS | [9 empty] | COMMENTS ON
EPA 1 | WASTEWATER QUALITY | [16 empty] | RECENT RESULTS
| type | test | units | 2013-03-01 | 2014-05-19 | 2014-10-24 | 2015-04-22 | 2015-10-13 | 2016-05-10 | 2016-11-10 | 2017-04-11 | 2017-10-05 | 2018-04-16 | 2019-01-15 | 2019-06-06 | 2019-11-26 | 2020-05-26
| pH | pH | pH unit | 7.3 | 7.12 | 6.45 | 6.36 | 6.13 | 7.41 | 7.98 | 7.95 | 7.48 | 9.22 | 7.83 | 6.4 | 8.07 | 7.75 | within normal range
| Conductivity | EC | μs/cm | 2000 | 1550 | 1670 | 1170 | 1360 | 1140 | 1400 | 1840 | 1450 | 3080 | 2220 | 1900 | 2290 | 2340 | within normal range
| Total Suspended Solids | SS | mg/L | 120 | 217 | 410 | 274 | 213 | 812 | 265 | 99 | 248 | 254 | 37 | 219 | 24 | 94 | within normal range
| Total Potassium | T. K | mg/L | 110 | 53.7 |  | 32.6 | 28.4 | 25 | 40.1 | 42.8 | 32.4 | 76.5 | 37.7 | 52.8 | 49.1 | 38.6 | within normal range
| Total Sodium | T. Na | mg/L |  | 245 | 254 | 230 | 268 | 233 | 274 | 357 | 272 | 644 | 438 | 348 | 398 | 404 | within normal range
| Nitrogen (ammonia) | N | mg/L | 1.6 | 5.2 | 3.8 | 0.1 | 3 | 0.1 | 1.8 | 10.9 | 0.1 | 6 | 0.01 | <0.05 | 2.1 | <0.1 | indicative of fertiliser not used since 2016
| Nitrogen (total) | T.N | mg/L | 17 | 30.5 | 44.3 | 29.4 | 22.3 | 20.2 | 26.6 | 24 | 18.5 | 30.8 | 19.4 | <0.05 | 8.36 | 7.33 | within normal range
| Total Phosphorus | T.P | mg/L | 12 | 8.16 | 11.9 | 4.84 | 3.28 | 3.06 | 4.24 | 6.42 | 3.78 | 7.98 | 5.84 | 11.1 | 3.67 | 3.09 | within normal range
| BOD | BOD | mg/L | 78 | 111 | 239 | 334 | 601 | 232 | 103 | 46 | 207 | 80 | 26 | 935 | 17 | 68 | low level good
| Total Kjeldah Nitrogen |  |  | 2019-06-06: <0.05; 2019-11-26: 8.36; 2020-05-26: 7.33 | reduction in last 6 months
| Nitrate & Nitrite |  |  | 2019-06-06: <0.05; 2019-11-26: <0.05; 2020-05-26: <0.05 | below detection limit
EPA 3 | GROUNDWATER QUALITY
| type | test | units | 2013-03-01 | 2014-05-19 | 2014-01-16 | 2014-11-27 | 2015-10-13 | 2016-11-10 | 2017-10-05 | 2019-01-15 | 2019-11-26
| pH | pH | pH unit | 2014-10-24: 6.64; 2015-04-22: 7.08; 2015-10-13: 6.79; 2016-05-10: 7.02; 2016-11-10: 7.29; 2017-04-11: 8.08; 2017-10-05: 7.14 | within normal ramge
| Conductivity | EC | μs/cm | 2014-10-24: 15400; 2015-04-22: 15800; 2015-10-13: 15700; 2016-05-10: 15200; 2016-11-10: 15300; 2017-04-11: 14600; 2017-10-05: 18800 | moderate increase on previous years
| Total Suspended Solids | SS | mg/L | 2014-10-24: 31; 2015-04-22: 43; 2015-10-13: 32; 2016-05-10: 103; 2016-11-10: 62; 2017-04-11: 56; 2017-10-05: 82 | within normal ramge
| Total Potassium | T. K | mg/L | 2014-10-24: 11.8; 2015-04-22: 7.9; 2015-10-13: 9.3; 2016-05-10: 13.2; 2016-11-10: 7.2; 2017-04-11: 6.9; 2017-10-05: 9 | within normal ramge
| Total Sodium | T. Na | mg/L | 2014-10-24: 2350; 2015-04-22: 277; 2015-10-13: 2890; 2016-05-10: 4160; 2016-11-10: 2560; 2017-04-11: 2940; 2017-10-05: 3130 | within normal ramge
| Nitrogen (ammonia) | N | mg/L | 2014-10-24: 2.7; 2015-04-22: 1; 2015-10-13: 1; 2016-05-10: 0.4; 2016-11-10: 0.5; 2017-04-11: 0.16; 2017-10-05: 0.3 | low end
| Nitrogen (total) | T.N | mg/L | 2014-10-24: 3.63; 2015-04-22: 1.57; 2015-10-13: 1.53; 2016-05-10: 1.28; 2016-11-10: 1.08; 2017-04-11: 1.07; 2017-10-05: 1.1 | within normal ramge
| Total Phosphorus | T.P | mg/L | 2014-10-24: 0.21; 2015-04-22: 0.03; 2015-10-13: 0.04; 2016-05-10: 0.12; 2016-11-10: 0.2; 2017-04-11: 0.12; 2017-10-05: 0.14 | higher than previous
| BOD | BOD | mg/L | 2014-10-24: 2; 2015-04-22: 2; 2015-10-13: 2; 2016-05-10: 6; 2016-11-10: 2; 2017-04-11: 2; 2017-10-05: 2 | normal
| Total Kjeldah Nitrogen |  |  | 2017-10-05: 1.02 | first time tested for this sample point
| Nitrate & Nitrite |  |  | 2017-10-05: 0.08 | first time tested for this sample point
EPA 4 | GROUNDWATER QUALITY
| type | test | units | 2013-03-01: 2013-03-01; 2014-05-19: 2014-05-19; 2014-10-24: 2014-01-16; 2015-04-22: 2014-11-27; 2015-10-13: 2015-10-13; 2016-05-10: 2016-11-10; 2016-11-10: 2017-10-05; 2017-04-11: 2019-11-26
| quality monitoring | pH | pH unit | 2014-10-24: 7.7; 2015-04-22: 8.04; 2015-10-13: 7.89; 2016-05-10: 8.15; 2016-11-10: 7.96; 2017-04-11: 8 | within normal range
| Conductivity | EC | μs/cm | 2014-10-24: 2800; 2015-04-22: 3690; 2015-10-13: 3920; 2016-05-10: 848; 2016-11-10: 2520; 2017-04-11: 4180 | higher than previous, groundwater too low to sample in previous year
| Total Suspended Solids | SS | mg/L | 2014-10-24: 25; 2015-04-22: 123; 2015-10-13: 26; 2016-05-10: 66; 2016-11-10: 256; 2017-04-11: 277 | higher than previous, groundwater too low to sample in previous year
| Total Potassium | T. K | mg/L | 2014-10-24: 17; 2015-04-22: 17.8; 2015-10-13: 17.2; 2016-05-10: 33.8; 2016-11-10: 8.9; 2017-04-11: 10.4 | within normal range
| Total Sodium | T. Na | mg/L | 2014-10-24: 492; 2015-04-22: 597; 2015-10-13: 656; 2016-05-10: 3230; 2016-11-10: 496; 2017-04-11: 674 | within normal range
| Nitrogen (ammonia) | N | mg/L | 2014-10-24: 0.6; 2015-04-22: 1; 2015-10-13: 1.1; 2016-05-10: 36.2; 2016-11-10: 0.1; 2017-04-11: 0.1 | at lower end of range
| Nitrogen (total) | T.N | mg/L | 2014-10-24: 1.67; 2015-04-22: 3.02; 2015-10-13: 0.49; 2016-05-10: 93.5; 2016-11-10: 1.39; 2017-04-11: 1.78 | at lower end of range (crop fertilised 2016)
| Total Phosphorus | T.P | mg/L | 2014-10-24: 0.58; 2015-10-13: 7; 2016-05-10: 15.2; 2016-11-10: 0.71; 2017-04-11: 1 | at lower end of range (crop fertilised 2016)
| BOD | BOD | mg/L | 2014-10-24: 3; 2015-10-13: 2; 2016-05-10: 2; 2016-11-10: 2; 2017-04-11: 2 | normal
| Total Kjeldah Nitrogen |  |  | 2017-04-11: 1.44 | first time tested for this sample point
| Nitrate & Nitrite |  |  | 2017-04-11: 0.34 | first time tested for this sample point
EPA 5 | GROUNDWATER QUALITY
| type | test | units | 2013-03-01 | 2014-05-19 | 2014-01-16 | 2014-11-27 | 2015-10-13 | 2016-11-10 | 2017-10-05 | 2019-01-15 | 2019-11-26
| quality monitoring | pH | pH unit | 2014-10-24: 7.53; 2015-04-22: 8.14; 2015-10-13: 7.75; 2016-05-10: 7.23; 2016-11-10: 7.61; 2017-04-11: 7.92; 2017-10-05: 7.96 | within normal range
| Conductivity | EC | μs/cm | 2014-10-24: 10100; 2015-04-22: 9990; 2015-10-13: 9920; 2016-05-10: 11300; 2016-11-10: 10700; 2017-04-11: 10300; 2017-10-05: 13400 | Slightly elevated relative to previous
| Total Suspended Solids | SS | mg/L | 2014-10-24: 21; 2015-04-22: 31; 2015-10-13: 25; 2016-05-10: 3320; 2016-11-10: 276; 2017-04-11: 49; 2017-10-05: 261 | within normal range
| Total Potassium | T. K | mg/L | 2014-10-24: 12.3; 2015-04-22: 9; 2015-10-13: 10.1; 2016-05-10: 17.2; 2016-11-10: 8.5; 2017-04-11: 8.2; 2017-10-05: 12.2 | within normal range
| Total Sodium | T. Na | mg/L | 2014-10-24: 1760; 2015-04-22: 2010; 2015-10-13: 1990; 2016-05-10: 159; 2016-11-10: 3060; 2017-04-11: 2420; 2017-10-05: 2500 | within normal range
| Nitrogen (ammonia) | N | mg/L | 2014-10-24: 0.1; 2015-04-22: 0.1; 2015-10-13: 0.1; 2016-05-10: 0.1; 2016-11-10: 0.5; 2017-04-11: 0.23; 2017-10-05: <0.1 | Good result
| Nitrogen (total) | T.N | mg/L | 2014-10-24: 0.39; 2015-04-22: 0.49; 2015-10-13: 1.04; 2016-05-10: 4.62; 2016-11-10: 9.76; 2017-04-11: 0.63; 2017-10-05: 0.92 | Within normal range
| Total Phosphorus | T.P | mg/L | 2014-10-24: 0.01; 2015-04-22: 0.02; 2015-10-13: 0.02; 2016-05-10: 1.23; 2016-11-10: 1.56; 2017-04-11: 0.07; 2017-10-05: 0.13 | Within normal range
| BOD | BOD | mg/L | 2014-10-24: 2; 2015-04-22: 2; 2015-10-13: 2; 2016-05-10: 189; 2016-11-10: 33; 2017-04-11: 2; 2017-10-05: <2 | Good result
| Total Kjeldah Nitrogen |  |  | 2017-10-05: 0.84 | first time tested for this sample point
| Nitrate & Nitrite |  |  | 2017-10-05: 0.08 | first time tested for this sample point
EPA 6 | GROUNDWATER QUALITY
| type | test | units | 2014-01-16 | 2014-11-27 | 2015-10-13 | 2016-11-10 | 2017-10-05 | 2018-01-01 | 2019-01-15
| quality monitoring | pH | pH unit | 8.08 | 8.38 | 7.95 | 6.29 | 7.35 | No water | No water | [7 empty] | low groundwater level - unable to sample since 2017 (drought)
| Conductivity | EC | μs/cm | 3290 | 3210 | 2020 | 6640 | 7540 | [9 empty] | expect water table to increase before sampling October 2020
| Total Suspended Solids | SS | mg/L | 335 | 21 | 36 | 1680 | 36400
| Total Potassium | T. K | mg/L | 15.5 | 14 | 69.9 | 87.4 | 246
| Total Sodium | T. Na | mg/L | 724 | 679 | 366 | 1680 | 1650
| Nitrogen (ammonia) | N | mg/L | 0.1 | 0.1 | 0.3 | 3.1 | 2
| Nitrogen (total) | T.N | mg/L | 0.42 | 0.45 | 6.32 | 9.01 | 86.5
| Total Phosphorus | T.P | mg/L | 0.06 | 0.02 | 5.72 | 3.53 | 29.5
| BOD | BOD | mg/L | 2 | 2 | 10 | 54 | 67
EPA 7 Soil
| type | test | units | 200mm-12/2013 | 600mm-12/2013 | 200mm-11/2014 | 600mm-11/2014 | 200mm-10/2015 | 600mm-10/2015 | 200mmm2016 | 600mm2016 | 200mm-2017 | 600mm-2017 | 100mm-2018 | 400mm-2019 | 100mm-2019 | 300mm-2019
| pH | pH | pH units | 9.12 | 8.98 | 8.75 | 8.95 | 8.86 | 9.39 | 7.9 | 8.3 | 9.3 | 9.2 | 8.7 | 9 | 8.8 | 9.4
| Available Phosphorus | P | mg/Kg | 8 | 2 | 83 | 47 | 46 | 15 | 210 | 250 | 7 | 5 | 74 | 57 | 160 | 46 | Within normal range
| Soluble Calcium | Ca | mg/Kg | [8 empty] | 1200 | 1300 | 190 | 210 | 670 | 37
| Nitrate/Nitrite Nitrogen, NOx as N | N | mg/Kg | 4 | 1 | 14 | 7 | 21 | 5 | 39 | 38 | 2.8 | 1.4 | 31 | 15 | 5.1 | 2.2
| Soluble Sodium | Na | mg/Kg | [8 empty] | 1100 | 1200 | 610 | 510 | 840 | 930 | Within normal range
| Conductivity | EC | uS/cm | 0.37 | 0.35 | 0.34 | 0.49 | 0.38 | 0.5 | 540 | 490 | 530 | 570 | 670 | 580 | 450 | 530 | Typical of results post 2016
| Cation Exchange Capacity | Cation Ex | meq/100g | 43.2 | 48.5 | 30.1 | 36.3 | 48.5 | 52.7 | 42 | 43 | 31 | 30 | 40 | 43 | 39 | 50 | At higher end of typical range.
| Exchangeable Sodium | Ex.ch.Na | meq/100g | 6.29 | 4.61 | 6.47 | 6.21 | 4.29 | 10.5 | 2.4 | 3.1 | 6.1 | 5.4 | 5 | 4.5 | - | 10 | At higher end of typical range.
| Exchangeable Potassium | Ex.ch.K | meq/100g | 3.67 | 1.25 | 4.25 | 2.28 | 3.3 | 1.43 | 3.9 | 4 | 2.5 | 0.81 | 2.9 | 2.5 | 4.2 | 3.9 | Within normal range
| Exchangeable Calcium | Ex.Ch.Ca | meq/100g | 23.7 | 25.2 | 9.92 | 15.7 | 25.9 | 23.1 | 28 | 29 | 17 | 17 | 25 | 28 | 20 | 23 | Within normal range
| Exchangeable Magnesium | Ex.ch.Mg | meq/100g | 9.54 | 17.5 | 9.5 | 12.1 | 14.9 | 17.7 | 7.8 | 7.3 | 5.8 | 6.5 | 7.4 | 8.1 | 9 | 12 | Within normal range
| quality monitoring | Ca/Mg ratio |  | 2.49 | 1.44 | 1.05 | 1.3 | 1.74 | 1.3 | 3.6 | 3.9 | 2.931 | 2.6154 | 3.3784 | 3.4568 | 2.2222 | 1.9167 | Within normal range
| T.Organic Carbon | T.Organic Carbon | %w/w | [8 empty] | 0.16 | 0.26 | 0.91 | 1.1 | 1.8 | 0.92 | Within normal range
| % Moisture |  | %w/w | [10 empty] | 7.9 | 7.4 | 13.8 | 17.2 | Higher moisture than previous - not waterlogged.
| Total Dissolved Solids |  | mg/kg | [10 empty] | 2000 | 1700 | 1400 | 1600 | Within normal range
EPA 8 Soil
| type | test | units | 200mm-12/2013 | 600mm-12/2013 | 200mm-11/2014 | 600mm-11/2014 | 200mm-10/2015 | 600mm-10/2015 | 200mm 2016 | 600mm2016 | 200mm2017 | 600mm2017 | 100mm-2018 | 400mm-2019 | 100mm-2019 | 300mm-2019
| pH | pH | pH units | 8.74 | 9.15 | 8.26 | 8.75 | 8.51 | 8.78 | 7.9 | 7.9 | 9.1 | 9.2 | 8.4 | 8.5 | 8.8 | 8.9 | Within normal range
| Available Phosphorus | P | mg/Kg | 1 | 1 | 47 | 31 | 87 | 19 | 94 | 110 | 5 | 4 | 22 | 17 | 25 | 15 | Within normal range
| Soluble Calcium | Ca | mg/Kg | [8 empty] | 350 | 490 | 59 | 76 | 130 | 100 | Within normal range
| Nitrate/Nitrite Nitrogen, NOx as N | N | mg/Kg | 1 | 1 | 5 | 13 | 6 | 3 | 9.6 | 9.6 | 2.2 | 2.7 | 10 | 8.8 | 54 | 56 | Increase on previous years
| Soluble Sodium | Na | mg/Kg | [8 empty] | 280 | 490 | 150 | 170 | 360 | 420 | Within normal range, similar to 2017
| Conductivity | EC | uS/cm | 0.33 | 0.24 | 0.23 | 0.29 | 0.28 | 0.22 | 240 | 280 | 290 | 450 | 240 | 250 | 290 | 300 | Typical of results post 2016
| Cation Exchange Capacity | Cation Ex | meq/100g | 47.9 | 49.3 | 30 | 32.2 | 30.7 | 33.9 | 29 | 29 | 40 | 41 | 28 | 28 | 32 | 33 | Within normal range
| Exchangeable Sodium | Ex.ch.Na | meq/100g | 3.29 | 4.1 | 3.15 | 4.87 | 3.49 | 4.69 | 1.7 | 1.9 | 3.7 | 6.3 | 1.4 | 1.4 | 3.1 | 3.8 | Within normal range
| Exchangeable Potassium | Ex.ch.K | meq/100g | 1.36 | 0.83 | 2.24 | 1.46 | 2.63 | 1.36 | 3.1 | 3.1 | 0.92 | 0.98 | 1.5 | 1.2 | 1.5 | 1.2 | Within normal range
| Exchangeable Calcium | Ex.Ch.Ca | meq/100g | 25.1 | 26.4 | 15.1 | 14.7 | 15.4 | 14.8 | 16 | 16 | 24 | 21 | 15 | 15 | 17 | 17 | Within normal range
| Exchangeable Magnesium | Ex.ch.Mg | meq/100g | 18.1 | 18 | 9.54 | 11.2 | 9.14 | 13.1 | 7.9 | 8 | 12 | 13 | 11 | 10 | 10 | 11 | Within normal range
| quality monitoring | Ca/Mg ratio |  | 1.38 | 1.46 | 1.58 | 1.31 | 1.69 | 1.13 | 2 | 2.1 | 2 | 1.6154 | 1.3636 | 1.5 | 1.7 | 1.5455 | Within normal range
| T.Organic Carbon | T.Organic Carbon | %w/w | [10 empty] | 0.72 | 0.59 | 0.75 | 0.57
| % Moisture | % | %w/w | [10 empty] | 4.1 | 4.7 | 8.1 | 9.4 | Higher moisture than previous - not waterlogged.
| Total Dissolved Solids | TDS | mg/kg | [10 empty] | 720 | 750 | 870 | 900 | Within normal range
Note on O67: Kandeepan, Kayalini: not 200mm ( 0-150mm) first sample &avaiable P)

## EPA Site Map
Harvey Fresh Juice Pty Ltd -EPA Site Map